OPTIONS for high-speed folding door „EFA-SFT®  THERM“:

Surface

Powder coating of all galvanized steel parts in a colour according to RAL _______

Painting of the wing frame profiles in a colour according to RAL _______

If steel parts as well as aluminium parts are coated in the same RAL colour, minor deviations in colour may occur which cannot be fully avoided due to the different surface structures. The supplier, however, will make the best possible efforts to keep deviations in colour as small as possible through influencing the degree of gloss.

Thermo panel glazing:

Highly transparent triple glazing made of 3 x 2.5 mm thick acrylic glass (PMMA material) with (size related) spacers.

Weather-resistant beveled cover for the gear case, e.g. external installation

Heated version of the gear case