OPTIONS for high-speed spiral door, type “EFA-SST®-MS”

Z4S

Powder coating 	of all galvanised steel parts in a colour according to

RAL __________ (luminous and pearl colours not possible)

PUL

Powder coating				of the laths in a colour according to RAL _______

(luminous and pearl colours not possible)

SPB

Spiral cover:				Bottom and front spiral cover

SPBO

Spiral cover:				Top spiral cover

SPB-SBT

Spiral cover:				Bottom, front and back spiral cover

Please consider reduced door opening height!

(only on connection with item MOA-SST)

MOA-SST

Self-supporting construction		for free-standing installation

Available door laths:

SIC-MS				Aluminium sight laths, with fully transparent single-walled

acrylic glass windows

SIC-MS-H				Aluminium sight laths, with fully transparent single-walled

polycarbonate windows with scratch-resistant coating

ALL-MS				Aluminium ventilation laths made of single-walled aluminium

with long wholes