OPTIONS for high-speed roll-up door, type „EFA-SRT®-L EX“:

Cover of the winding shaft/motor:

complete covering over motor and shaft

Surface:

Powder coating of all galvanised steel parts in a colour according to RAL __________

(pearl, luminous and metallic colours not possible)

or

stainless steel version (V2A) of all visible steel parts, visible surface polished, coarseness 220,

incl. switch cabinet made of V2A, e.g. for wet operations

ACTIVATION

- Push button in ATEX version, industrial version on finery

- Push button combination OPEN/STOP/CLOSE in ATEX version, industrial version on finery

- Pull chord in ATEX version, support console as option

- Evaluator for induction loops in ATEX version (1-channel or 2-channel)

(including cutting of loops)

SPECIAL EXECUTIONS

Door system acc. to ATEX guidelines RL 2014/34/EU for dust zones:

- Explosion hazardous atmospheres Zone 21 (II 2D IIIB 135°C X)

- Explosion hazardous atmospheres Zone 22 (II 3D IIIB 135°C X)

- (X: installation and surrounding temperature -15°C up to +50°C)